City of San Augustine

Texas Capital Fund Main Street Program

Infrastructure Plan

DESCRIPTION OF AFFECTED INFRASTRUCTURE

Sidewalks/Parking:

This project’s construction of sidewalks will impact access to the businesses located on sidewalk renovations and ADA compliance at three (3) locations in the City of San Augustine Main Street area: (1) along Columbia Street beginning approximately 75 feet east of the intersection of Columbia and Broadway and ending approximately 125 feet east of the intersection of Columbia and Broadway; (2) along Columbia Street beginning at Harrison Street and ending approximately 275 feet east of the intersection of Columbia and Harrison; and, (3) along Montgomery Street from Columbia to approximately 110 feet south of the intersection of Columbia and Montgomery.

There are approx. 14 public parking spaces along these storefronts.

CURRENT PROJECT

Parking/Sidewalk Access:

The contractor will be required to maintain a construction entrance to the front of each business during working hours.  Demolition of existing sidewalk and placement of new concrete will require temporary closure of this access.  This closure will only be allowed after normal working hours and the Contractor will be required to give sufficient prior notice to the business owners.

The Contractor will not be allowed to do any work affecting traffic or parking on days that court is being held, due to peak parking needs and traffic.

All parking spaces will be closed for striping.  Heat application of striping will be specified to minimize closure time.  The striping will be accomplished after normal working hours.

Prior to finalizing plans, Main Street will coordinate a meeting with directly affected business owners to identify special access and parking conditions.  Business owners will be encouraged to provide back accesses.  Signage for such alternate arrangements will be provided for in the contract documents.

Prior to Construction, another meeting will be held with the owners to communicate the construction schedule and contact points for construction-related concerns.

FUTURE PROJECTS

Parking:

Although parking in the San Augustine Main Street area is currently adequate, Main Street will be watchful for any opportunities, which may provide for future overflow parking facilities.

Sidewalks:

City of San Augustine Main Street Committee will continue to evaluate other target locations in the Main Street area for possible funding opportunities for sidewalk improvement projects.

_______________________________________		                        October 16, 2018

Leroy Hughes, Mayor								Date